## Summary
Kitchen inventory summary
Counts update as you fill in Status on the Inventory sheet.
Items listed | 46
Status: Working | 0
Status: Needs repair | 0
Status: Replace | 0
Status: Not checked | 46
Gas appliances on the line | 6
Before go-live: red actions | 4
Before go-live: amber actions | 6
Before go-live: actions done | 0
Menu coverage
Tandoori wings, sizzlers, naans, tandoori roast | Shaan gas tandoor + sizzler platters
Naan-pizzas and the overnight one-operator station | Conveyor pizza oven + pizza prep counter
Hot wings and tenders | Henny Penny pressure fryer
Masala and loaded fries | BNI open fryer
Butter chicken smash burger | Gas griddle / chargrill with press (confirmed: the plan’s griddle question is answered)
House curry, chana masala, gravies | Indian open-top range + GN gantry
Sunday roast, lamb shank, batch bases | Convotherm combi oven
Naan and pizza dough | Spiral dough mixer
Breakfast | Toasters, griddle, hot cupboard, heated pass

## Inventory
The Far Moor Taproom — kitchen inventory (from photos, 7 Nov 2026)
Condition is as seen in photos, not tested. Confirm make, model and serial from each rating plate, then set Status. Grey Status cells are for you to fill in.
Ref | Area | Item | Make / model (as seen) | Qty | Fuel / power | Condition (as seen) | Use on the new menu | Status | Action before go-live | Photo set
K01 | Cooking line | Gas tandoor (clay pot, temperature gauge) | Shaan Tandoors | 1 | Gas | In place; clay pot intact; pan and lid resting on top | Tandoori wings, sizzlers, naans, naan rolls, Sunday tandoori roast | Not checked | Gas Safe check; clean and season the pot | Today
K02 | Cooking line | Indian open-top gas range, about 10–12 burners in two rows | Make not visible | 1 | Gas | Burner trays lined with foil; one pan support off and on the floor | House curry, chana masala, sauces and gravies | Not checked | Remove foil; refit pan support; Gas Safe service | Today
K03 | Cooking line | Overhead gantry with gastronorm containers and lids | Stainless | 1 | — | About 9–10 GN pots in place | Curry and garnish station | Not checked | Clean | Today
K04 | Cooking line | Kadhai, tawa and stockpots | Various | 6 | — | In use | Curry station | Not checked | Deep clean | Today
K05 | Cooking line | Tandoor skewers, spiders and long ladles (wall rack) | Various | 1 | — | Hanging set, quantity to count | Tandoor wings, seekh and tikka | Not checked | Count and clean | Today
K06 | Cooking line | Combi oven on stand | Convotherm (easyTouch style), about 6-grid | 1 | Electric (check) | Installed under the canopy | Sunday roast chicken and lamb shank, batch bases | Not checked | Service and descale; identify the blue cylinder stored under the stand | Today / earlier
K07 | Cooking line | Gas chargrill / griddle with press lid, 4 burners | Make not visible | 1 | Gas | Installed; gas hoses connected | Butter chicken smash burger, sizzler finishing | Not checked | Gas Safe check. This answers the plan’s griddle question | Today / earlier
K08 | Cooking line | Pressure fryer | Henny Penny, Computron 8000 controller | 1 | Gas (yellow hose) | Installed; controller display visible | Tandoori hot wings, tenders | Not checked | Service; ask the insurer whether a pressure system inspection is needed | Today
K09 | Cooking line | Open floor fryer | BNI | 1 | Gas | Gas hose disconnected and lying in the tank | Masala fries, loaded fries | Not checked | Gas Safe reconnection and commissioning | Today
K10 | Cooking line | Second fryer / dump station unit | Stainless, make not visible | 1 | Check | Behind the BNI fryer | Fries holding | Not checked | Identify and test | Today
K11 | Cooking line | Conveyor pizza oven on castors | Lincoln-type impinger (confirm plate) | 1 | Gas (check) | Gas hose disconnected and lying on top; parts on top | Naan-pizzas, kids’ margherita, overnight one-operator station | Not checked | Gas Safe reconnection and commissioning; clear the top | Today / earlier
K12 | Cooking line | Refrigerated pizza prep counter (3 doors, topping rail) | Make not visible | 1 | Electric | Next to the conveyor oven | Naan-pizza topping station | Not checked | Clean; check temperature | Today
K13 | Cooking line | Main extraction canopies with baffle filters | Stainless | 1 | Electric | Large canopies over the line | Whole cooking line | Not checked | TR19 extraction clean (on the plan checklist) | Today / earlier
K14 | Pass | Heated pass shelf / gantry with heaters and switches | Stainless, 2-tier | 1 | Electric | In place above the microwave bench | Holding plates for dine-in | Not checked | Test the heaters | Today
K15 | Pass | Hot cupboard with doors and isolator switch | Stainless | 1 | Electric | Under the pass bench | Plate warming and hot holding | Not checked | Test | Today
K16 | Pass | Commercial microwave | Buffalo GK641 | 1 | Electric | PAT sticker visible | Reheat and regen | Not checked | Check the PAT date | Today
K17 | Pass | Toasters, 4-slice | Acekool plus 2 commercial-style seen earlier | 3 | Electric | Domestic grade | Breakfast service | Not checked | PAT test | Today / earlier
K18 | Pass | Kettle | Tower (domestic) | 1 | Electric | Domestic | Staff use only | Not checked | PAT test | Today
K19 | Refrigeration | Walk-in cold room | Foster | 1 | Electric | Door and handle intact | Main chilled store | Not checked | Repair (flagged at the Aug 2025 handover) and check temperature | Today
K20 | Refrigeration | Upright 2-door fridge or freezer, stainless | Make not visible (service sticker on the door) | 1 | Electric | In place by the walk-in | Chilled or frozen store | Not checked | Confirm fridge or freezer; check temperature | Today
K21 | Refrigeration | Upright 2-door deep freezer, stainless | Williams | 1 | Electric | In place; freezer stock list on the door | Frozen wings, fries, naans | Not checked | Check temperature; date-check stock | Today
K22 | Refrigeration | Undercounter fridge (locking door) | Gram | 1 | Electric | Electrical safety test pass sticker | Pass and garnish | Not checked | Check temperature | Today
K23 | Refrigeration | American-style fridge freezers | Samsung (domestic), with water dispensers | 2 | Electric | Domestic units | Back-up or staff use | Not checked | Plan to replace with commercial units; check temperatures | Today / earlier
K24 | Refrigeration | Undercounter fridges and prep island with fridge drawers | Various | 3 | Electric | Seen in earlier photos | Prep and marinades | Not checked | Check temperatures | Earlier
K25 | Prep | Spiral dough mixer | Make not visible | 1 | Electric | A box of dirty tea towels sitting on it | Naan and pizza dough | Not checked | Clear it; clean; PAT test | Today / earlier
K26 | Prep | Bench-mounted can opener | Stainless | 1 | — | Fitted to the prep bench | Prep | Not checked | Clean the blade | Today
K27 | Prep | Stainless prep tables and shelving | Various | 8 | — | Central island and wall benches | Prep stations | Not checked | Declutter and clean | Today / earlier
K28 | Prep | Galvanised wire shelving racks | Various | 3 | — | In use | Dry and chilled storage | Not checked | Clean | Today / earlier
K29 | Prep | Blender and rice cooker | Kenwood blender; rice cooker | 2 | Electric | Seen earlier | Sauces, lassi, rice | Not checked | PAT test | Earlier
K30 | Wash-up | Pot-wash sink with drainer | Stainless | 2 | — | One by the window, one at the pass | Pot wash | Not checked | Clean | Today
K31 | Wash-up | Hand-wash basin | Stainless, round bowl | 1 | — | Being used as a bin, full of carrier bags | Hand washing only | Not checked | Clear it now and keep it clear, with soap and paper towels (an inspector will mark this down) | Today
K32 | Wash-up | Small canopy over the wash-up area | Stainless | 1 | Electric | In place | Steam extraction | Not checked | Include in the TR19 clean | Today
K33 | Serveware | Sizzler platters, oval, embossed stainless | Stainless | 12 | — | Stacked in a sink; count to confirm | Mighty Mixed Sizzler, paneer sizzler | Not checked | Count; buy cast-iron inserts and wooden bases if needed | Today
K34 | Serveware | Balti / karahi serving dishes, black | Various | 12 | — | Stacked on the pass; count to confirm | Curry service | Not checked | Count | Today
K35 | Serveware | Dinner plates and pasta bowls | White china | 100 | — | Large stacks on shelving; count to confirm | Dine-in service, roast | Not checked | Count and check for chips | Today
K36 | Serveware | Large aluminium stockpots | Various | 4 | — | On shelving | Batch curry bases, gravy | Not checked | Clean | Today
K37 | Safety | Kitchen fire suppression control panel (hood system) | Wall panel with LCD and red and yellow controls | 1 | Electric | In place by the extinguishers | Protects the cooking line | Not checked | Confirm the service date and that it is armed | Today
K38 | Safety | Fire extinguishers: CO2 and wet chemical | 2 units on wall brackets | 2 | — | Signage in place | Kitchen fire cover | Not checked | Check service tags are in date | Today
K39 | Safety | Fire alarm sounder, call point and panel | Fire System 2000 panel | 1 | Electric | In place | Building alarm | Not checked | Confirm the last service and test log | Today
K40 | Safety | CCTV dome cameras and monitor | Various | 2 | Electric | Monitor shows "no link" on some feeds | Night lone-working cover | Not checked | Fix the dead feeds before nights start | Today
K41 | Services | Kitchen and restaurant distribution board | Labelled board with bedroom heating zones and emergency lighting switches | 1 | Electric | Lockable cabinet; contractor labels | Kitchen, restaurant and hotel heating | Not checked | Part of the EICR | Today
K42 | Services | Gas solenoid valve and pipework by the DB | Make not visible | 1 | Gas | Exposed valve on the pipe | Gas interlock with the extraction | Not checked | Gas Safe check of the interlock | Today
K43 | Services | Fibreglass step ladder | EN131 Professional | 1 | — | Labels intact | Maintenance | Not checked | Store outside the kitchen | Today
K44 | Housekeeping | FOH tub chairs stored in the kitchen | Striped tub chairs | 2 | — | In front of the Williams freezer | FOH furniture | Not checked | Move out of the kitchen | Today
K45 | Housekeeping | Plastic service trolley, 3-tier | Plastic | 1 | — | By the freezer | Clearing and room service | Not checked | Clean | Today
K46 | Stock | Natural yogurt buckets | Henna and Dairy Farm | 15 | — | About 15 buckets on prep shelving | Marinades and raita | Not checked | Check use-by dates; chill or discard | Today / earlier
Quantities in blue are counts from the photos; serveware counts are estimates to confirm.

## Before go-live
What to sort before the kitchen trades
From the photos. Red = do before anything is switched on. Amber = before opening. Green = this month.
# | Priority | Issue seen | Why it matters | Action | Who | Done?
1 | Red | Gas hoses disconnected on the BNI fryer and the conveyor oven; brass fittings and parts loose on the bench | Equipment isn’t commissioned. Running it uncertified voids insurance and fails a Gas Safe check | Gas Safe engineer to reconnect, commission and issue the catering gas certificate (including the extraction interlock) | Gas Safe engineer
2 | Red | Blue cylinder stored under the combi oven stand | If it’s LPG or another gas, it shouldn’t be stored in the kitchen | Identify it. If it’s a gas bottle, remove it to an approved outside store | Manager
3 | Red | Foil lining the burner trays on the Indian range | Fire and grease risk; can upset combustion | Remove the foil, deep clean the trays, refit the loose pan support | Kitchen team
4 | Red | Hand-wash basin full of carrier bags | A hand-wash basin must be kept clear with soap and towels: an instant mark-down on a hygiene inspection | Clear it today; put soap, paper towels and a bin beside it | Kitchen team
5 | Amber | Walk-in cold room (Foster) flagged for repair at handover | Main chilled store for a 24/7 kitchen | Refrigeration engineer to repair and log temperatures | Refrigeration engineer
6 | Amber | Henny Penny pressure fryer | Pressure equipment; insurers often ask for an inspection record | Service it and ask Accelerant whether a written scheme of examination is needed | Manager
7 | Amber | Fire suppression panel, extinguishers and alarm | Needed for the insurance and the fire risk assessment, especially for 24/7 trading | Check service dates; book any overdue servicing; record the alarm test | Manager
8 | Amber | CCTV monitor showing "no link" feeds | Night lone-working and cashless controls rely on CCTV | Fix the dead cameras before nights start | Manager
9 | Amber | Yogurt and other stock of unknown age | Food safety | Date-check every bucket and the freezer list; discard anything out of date | Kitchen team
10 | Amber | Extraction canopies | TR19 clean is on the plan checklist; insurers ask for it | Book a TR19 clean and keep the certificate | Contractor
11 | Green | Two domestic Samsung fridge freezers | Domestic units struggle with commercial door use and temperature logging | Keep for staff or back-up; budget for commercial replacements | Manager
12 | Green | Tub chairs, ladder, tools and boxes in the kitchen; mixer used as a shelf | Clutter, hygiene and trip hazards | Clear everything that doesn’t belong in the kitchen | Kitchen team
13 | Green | PAT testing of small appliances (microwave, toasters, kettle, mixer, blender) | On the plan checklist | Book a PAT test for all plug-in kit | Contractor
14 | Green | Serveware counts (sizzler platters, balti dishes, plates) | Confirms what the menu launch needs to buy | Count and add to the Inventory sheet | Kitchen team